Technical Information Document

COE

Servers

| Document Title: | Error using ESMPro Web Component (Failed to collect information. (System error.(OpenFileMapping (5)). |
| --- | --- |
| Document ID: | TID0706040942 |
| Creation Date: | 4 June 2007 |
| Modified Date: |  |
| Document Revision: | 0 |
| Product Class: | Servers |
| Product and Version: | ESMPro |

Symptoms / Facts

After connecting to ESMPro Web Component URL http:/localhost/esmpro, the following screen appears:

When clicking on Operation Window, the following error appears:

Cause

Incorrect IIS security settings

Solutions / Fixes

Apply the following settings :

Note: These settings are not the most secured (password is sent in clear text over the network), but it allows validating the configuration.

| Document owner: | COE Servers |
| --- | --- |
| Applies to: | ESMPro |